## Sheet1
Heater Control Panel Questionaire.
Sr. No. | Question | Answer Options | Reply Options | Remarks from You.
1 | Maximum Load rating of the panel | in KW /phase or Total KW in 3 Phase
2 | Application - Single phase or Three Phase | Single or Three
3 | Supply Voltage. For three phase line to line or Phase to neutral. | Voltage AC
4 | Maximum Load in Current | Amp/phase
5 | Supply Frequency | 50Hz or 60Hz
6 | Auxillary Supply | 230Vac fixed
7 | For 3-ph system, configuration. | Star or Delta
8 | Load Stucture | Balacnce or Unbalance
9 | PID Controller | 4 to 20mA
10 | PID Controller with Communication | 485
11 | Temparature Sensor | PT100 or thermocouples
12 | Cable for Input and Output sizes. Specify, Cu / Al. | sizes in mm2.
13 | Incomer MCB/SFU/MCCB | MCB/SFU/MCCB
14 | Cable entry - Top / Side / Bottom | Specify position
15 | Enclosure Class requirements | IP-21 / IP-32 / IP-42
16 | Metal gauge for CRCA enclosure. | Upto 18kVA - 18/20 gauge. 18 to 60kVA - 16/18 gauge. 75kVA + range - 16 gauge.
17 | Mounting Arrangement (option upto only 24kVA) | Wall mount / floor mount
18 | Panel Colour coating. Type and Colour shade | Std comes with power coating and Siemens grey